## Slide 1
2019-10-11
Schematics for software development.
Referenced to lab testing schematic by tag: A1, A5, A6, etc

## Slide 2
DWHR – Drain Water Heat Recovery – cold inlet water that has been heated somewhat by passing through drain water heat recovery device

## Slide 3
Primary Storage
Cold + DWHR Inlet
Primary
Hot Outlet
Mixing Valve + Magic Heater
Cold + DWHR Inlet
Hot Outlet
Tuse
A1 or A5
Simple Water Heater

## Slide 4
Primary
Storage
Tank
Cold + DWHR Inlet
Primary
Hot Outlet
Mixing Valve +
Magic HeaterTM
Cold + DWHR Inlet
Hot Water Supply at Tuse
Hot Water Return from Loop
A6
Basic Loop
Return to bottom of primary tank
Pump
60F
80F
149F
125F
60F
80F
120F
Tank to mix these at appropriate node.
Both at lowest node in this case.
Draws

## Slide 5
Primary
Storage
Tank
Cold + DWHR Inlet
Primary
Hot Outlet
Mixing Valve +
Magic HeaterTM
Cold + DWHR Inlet
Hot Water (HWC)
Supply at Tuse
Hot Water (HWC) Return from Loop
A7
Basic Loop
Return to middle of primary tank
Pump
60F
80F
149F
125F
60F
80F
120F
Tank to mix these at appropriate node. Cold inlet at bottom node. Hot water return to a middle node.
Draws

## Slide 6
Primary
Storage
Tank
Cold + DWHR Inlet
Primary
Hot Outlet
Mixing Valve +
Magic HeaterTM
Cold + DWHR Inlet
Hot Water (HWC)
Supply at Tuse
Hot Water (HWC) Return from Loop
A8
Basic Loop
Return to top of primary tank
Pump
60F
80F
149F
125F
60F
80F
120F
Tank to mix these at appropriate node. Cold inlet at bottom node. Hot water return to a top node.
Draws

## Slide 7
Swing
Tank
Primary
Storage
Tank
Primary
Hot Outlet
Mixing Valve +
Magic HeaterTM
Cold + DWHR Inlet
Hot Water Supply at Tuse
Hot Water Return from Loop
A10
Loop with Swing Tank
Primary tank outlet goes to lowest node of swing tank. Hot water return from loop goes to lowest node of swing tank.
Pump
149F
125F
60F
80F
120F
Tank to mix these at appropriate node.
Both at lowest node in this case.
Draws
Cold + DWHR Inlet
60F
80F
149F-120F
Swing Tank
Outlet
Resistance Heater